## Sample Info
	Composition Information			Irradiation Information				Offline Measurement Information					Storage Information
Sample ID	% WbLS	% AO	Is Fricke?	Irradiation Number	Intended Dose (Gy)	Front/Rear	Position in Holder Matrix	Tray #, pre-irrad	Position #, pre-irrad	Tray #, post-irrad	Position #, post-irrad	Is attenuation length sample?	Storage Tray	Storage Tray Location

## LS Measurement (DATE)
Tray Number	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
1	[SAMPLE ID GOES HERE]
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

Measurement Info
Is post-Irradiation?	Includes Ref Samples?	Includes Abs Length Samples?	Comments

## Notes
SampleID name format: [%LS][%AO]_[Irrad Num Spills][Front/Back][Row][Column]
eg: sample '52_1F23' denotes a sample composed of 5% WbLS, 2% AntiOxidant that was irradiated for 1 spill, in the front holder, in matrix position (2,3)
Exceptions: PMT samples have 'PMT' instead of [Front/Back][Row][Column], Fricke samples have 'F' instead of [%LS][%AO], and unirradiated reference samples have 'REF[N]' (N is the duplication number) instead of [Irrad Num Spills][Front/Back][Row][Column].

Legend for position in sample matrix (RowColumn) format:
11	12	13	14	15	16	17
21	22	23	24	25	26	27
31	32	33	34	35	36	37

There are 20 samples per matrix (+ 1 Fricke), so I can use 2 full trays to do one matrix on the LS6500. A value of '0' denotes a sample that was used in the PMT sample holder.

For the LS measurement, it is important to be smart about sample placement, and placing calibration markers in the sample chain to ensure that it is possible to always know what is being measured.
-- One idea is to encode the tray number by using the %WbLS ordering. This would work, provided the %WbLS can be unambiguously determined from the gross counts.
-- Another idea is to use a marker for each tray. Things that could serve as markers include sources (of varying activity), empty vials, and plastic scintillator.
Either way, the order of the LS measurement chain needs to be on the worksheet. In this definition, Tray 1 is the tray that is measured first.
It may be that multiple measurements need to be carried out. Each measurement can go on a new worksheet with the starting date of the measurement as an identifier.