## Received Dose
Irradiation #	Dose Front (Gy)	Dose Rear (Gy)
1
2
3
4
5

## Attenuation Length
Below is a list of samples taken for attenuation length measurements:
Sample Name
0100_1F27
0100_2F27
0100_3F27
0100_4F27
0100_1R27
0100_1R27
0100_2R27
0100_3R27
0100_4R27
1000_1F37
1000_2F37
1000_3F37
1000_4F37
1000_1R37
1000_2R37
1000_3R37
1000_4R37

## HolderMatrix, Planned Irrad 141014
Irradiation 1, Front					Irradiation 1, Rear
Column\Row	1	2	3	4	5	6	7		Column\Row	1	2	3	4	5	6	7
1	0050_1F11	0052_1F12	0050_1F13	0052_1F14	0100_1F15	0050_1F16	0052_1F17		1	0050_1R11	0052_1R12	0050_1R13	0052_1R14	0100_1R15	0050_1R16	0052_1R17
2	0102_1F21	0100_1F22	0140_1F23	F_1F24	0102_1F25	0142_1F26	0100_1F27		2	0102_1R21	0100_1R22	0140_1R23	F_1R24	0102_1R25	0142_1R26	0100_1R27
3	0140_1F31	1002_1F32	0142_1F33	1000_1F34	1002_1F35	1000_1F36	1000_1F37		3	0140_1R31	1002_1R32	0142_1R33	1000_1R34	1002_1R35	1000_1R36	1000_1R37

Irradiation 2, Front					Irradiation 2, Rear
Column\Row	1	2	3	4	5	6	7		Column\Row	1	2	3	4	5	6	7
1	0050_2F11	0052_2F12	0050_2F13	0052_2F14	0100_2F15	0050_2F16	0052_2F17		1	0050_2R11	0052_2R12	0050_2R13	0052_2R14	0100_2R15	0050_2R16	0052_2R17
2	0102_2F21	0100_2F22	0140_2F23	F_2F24	0102_2F25	0142_2F26	0100_2F27		2	0102_2R21	0100_2R22	0140_2R23	F_2R24	0102_2R25	0142_2R26	0100_2R27
3	0140_2F31	1002_2F32	0142_2F33	1000_2F34	1002_2F35	1000_2F36	1000_2F37		3	0140_2R31	1002_2R32	0142_2R33	1000_2R34	1002_2R35	1000_2R36	1000_2R37

Irradiation 3, Front					Irradiation 3, Rear
Column\Row	1	2	3	4	5	6	7		Column\Row	1	2	3	4	5	6	7
1	0050_3F11	0052_3F12	0050_3F13	0052_3F14	0100_3F15	0050_3F16	0052_3F17		1	0050_3R11	0052_3R12	0050_3R13	0052_3R14	0100_3R15	0050_3R16	0052_3R17
2	0102_3F21	0100_3F22	0140_3F23	F_3F24	0102_3F25	0142_3F26	0100_3F27		2	0102_3R21	0100_3R22	0140_3R23	F_3R24	0102_3R25	0142_3R26	0100_3R27
3	0140_3F31	1002_3F32	0142_3F33	1000_3F34	1002_3F35	1000_3F36	1000_3F37		3	0140_3R31	1002_3R32	0142_3R33	1000_3R34	1002_3R35	1000_3R36	1000_3R37

Irradiation 4, Front					Irradiation 3, Rear
Column\Row	1	2	3	4	5	6	7		Column\Row	1	2	3	4	5	6	7
1	0050_4F11	0052_4F12	0050_4F13	0052_4F14	0100_4F15	0050_4F16	0052_4F17		1	0050_4R11	0052_4R12	0050_4R13	0052_4R14	0100_4R15	0050_4R16	0052_4R17
2	0102_4F21	0100_4F22	0140_4F23	F_4F24	0102_4F25	0142_4F26	0100_4F27		2	0102_4R21	0100_4R22	0140_4R23	F_4R24	0102_4R25	0142_4R26	0100_4R27
3	0140_4F31	1002_4F32	0142_4F33	1000_4F34	1002_4F35	1000_4F36	1000_4F37		3	0140_4R31	1002_4R32	0142_4R33	1000_4R34	1002_4R35	1000_4R36	1000_4R37

Irradiation 5
Front:	0050_FPMT	F_FPMT1	F_FPMT2
Rear:	0050_RPMT	F_RPMT1	F_RPMT2

Not Irradiated:
0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1
0050_REF2	0052_REF2	0100_REF2	0102_REF2	0140_REF2	0142_REF2	1000_REF2	1002_REF2
F_REF1	F_REF2	F_REF3

## Holder Matrix, Irrad 141117
Irradiation 1, Front					Irradiation 1, Rear
Column\Row	1	2	3	4	5	6	7		Column\Row	1	2	3	4	5	6	7
1	0050_1F11	0050_3F11	0050_1F13	0050_3F13	0100_1F15	0050_1F16	F_3F24		1	0050_1R11	0050_3R11	0050_1R13	0050_3R13	0100_1R15	0050_1R16	F_3R24
2	0100_3F22	0100_1F22	0140_1F23	F_1F24	0100_3F15	0050_3F16	0100_1F27		2	0100_3R22	0100_1R22	0140_1R23	F_1R24	0100_3R15	0050_3R16	0100_1R27
3	0140_1F31	1000_3F37	0140_3F23	1000_1F34	1000_3F34	1000_1F36	1000_1F37		3	0140_1R31	1000_3R37	0140_3R23	1000_1R34	1000_3R34	1000_1R36	1000_1R37

Irradiation 2, Front					Irradiation 2, Rear
Column\Row	1	2	3	4	5	6	7		Column\Row	1	2	3	4	5	6	7
1	0050_2F11	0050_4F11	0050_2F13	0050_4F13	0100_2F15	0050_2F16	F_4F24		1	0050_2R11	0050_4R11	0050_2R13	0050_4R13	0100_2R15	0050_2R16	F_4R24
2	0100_4F22	0100_2F22	0140_2F23	F_2F24	0100_4F15	0050_4F16	0100_2F27		2	0100_4R22	0100_2R22	0140_2R23	F_2R24	0100_4R15	0050_4R16	0100_2R27
3	0140_2F31	1000_4F37	0140_4F23	1000_2F34	1000_4F34	1000_2F36	1000_2F37		3	0140_2R31	1000_4R37	0140_4R23	1000_2R34	1000_4R34	1000_2R36	1000_2R37

## LS Measurement arrangement
Pre-irradiation measurements 141014 (actual)
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	EMPTY	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S15	EMPTY	0050_4R16	0052_4R17	0100_1R27	EMPTY	0100_2R27	0100_3R27	0100_4R27	1000_1R37	1000_2R37	1000_3R37	1000_4R37
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17	0100_1F27	0100_2F27	0100_3F27	0100_4F27
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

Gamma Pre-irradiation measurements 141017 (actual)
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_0_1	0050_0_2	0052_0_1	0052_0_2	0050_100_1	0050_100_2	0052_100_1	0052_100_2	0050_400_1	0050_400_2
S2	0052_400_1	EMPTY	0052_400_2	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2
S3	0100_10_1	0100_10_2	EMPTY	0102_10_1	0102_10_2	0100_100_1	0100_100_2	0102_100_1	0102_100_2	0100_400_1	0100_400_2
S4	0102_400_1	0102_400_2	0100_1000_1	EMPTY	0100_1000_2	0102_1000_1	0102_1000_2

Gamma Post-irradiation measurements 141020 (actual)
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2

Gamma Post-irradiation measurements 141021 (actual)
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_0_1	0050_0_2	0052_0_1	0052_0_2	0050_100_1	0050_100_2	0052_100_1	0052_100_2	0052_400_1	0052_400_2
S2	0050_400_1	EMPTY	0050_400_2	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2
S3	0100_10_1	0100_10_2	EMPTY	0102_10_1	0102_10_2	0100_100_1	0100_100_2	0102_100_1	0102_100_2	0100_400_1	0100_400_2
S4	0102_400_1	0102_400_2	0100_1000_1	EMPTY	0100_1000_2	0102_1000_1	0102_1000_2	GLASS_0_1	GLASS_0_2	PP_0_1	PP_0_2
S5	GLASS_100_1	GLASS_100_2	PP_100_1	PP_100_2	EMPTY	GLASS_400_1	GLASS_400_2	PP_400_1	PP_400_2	GLASS_1000_1	GLASS_1000_2
S6	PP_1000_1	PP_1000_2				EMPTY
S7	LS Vit. C	15% WbLS Vit. C	10% WbLS Vit. C	5% WbLS Vit. C	LS 10/20/14	WbLS-15 10/20/14	EMPTY	WbLS-10 10/20/14	WbLS-5 10/20/14

Gamma Post-irradiation Measurements 141022 (actual)
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_0_1	0050_0_2	0052_0_1	0052_0_2	0050_100_1	0050_100_2	0052_100_1	0052_100_2	0052_400_1	0052_400_2
S2	0050_400_1	EMPTY	0050_400_2	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2
S3	0100_10_1	0100_10_2	EMPTY	0102_10_1	0102_10_2	0100_100_1	0100_100_2	0102_100_1	0102_100_2	0100_400_1	0100_400_2
S4	0102_400_1	0102_400_2	0100_1000_1	EMPTY	0100_1000_2	0102_1000_1	0102_1000_2	GLASS_0_1	GLASS_0_2	PP_0_1	PP_0_2
S5	GLASS_100_1	GLASS_100_2	PP_100_1	PP_100_2	EMPTY	GLASS_400_1	GLASS_400_2	PP_400_1	PP_400_2	GLASS_1000_1	GLASS_1000_2
S6	PP_1000_1	PP_1000_2				EMPTY
S7	LS Vit. C	15% WbLS Vit. C	10% WbLS Vit. C	5% WbLS Vit. C	LS 10/20/14	WbLS-15 10/20/14	EMPTY	WbLS-10 10/20/14	WbLS-5 10/20/14	HDPE_0_1	0

Post-irradiation measurements (planned)
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	EMPTY	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17
S14	EMPTY			EMPTY			0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S15	EMPTY	0050_4R16	0052_4R17		EMPTY
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

## Storage Matrix
Tray 1
Row\Column	0	1	2	3	4	5	6	7	8	9
0	0050_1F11	0050_3F11	0050_1F13	0050_3F13	0100_1F15	0050_1F16	F_3F24
1	0100_3F22	0100_1F22	0140_1F23	F_1F24	0100_3F15	0050_3F16	0100_1F27
2	0140_1F31	1000_3F37	0140_3F23	1000_1F34	1000_3F34	1000_1F36	1000_1F37
3
4
5
6
7	0050_1R11	0050_3R11	0050_1R13	0050_3R13	0100_1R15	0050_1R16	F_3R24
8	0100_3R22	0100_1R22	0140_1R23	F_1R24	0100_3R15	0050_3R16	0100_1R27
9	0140_1R31	1000_3R37	0140_3R23	1000_1R34	1000_3R34	1000_1R36	1000_1R37

Tray 2
Row\Column	0	1	2	3	4	5	6	7	8	9
0	0050_2F11	0050_4F11	0050_2F13	0050_4F13	0100_2F15	0050_2F16	F_4F24
1	0100_4F22	0100_2F22	0140_2F23	F_2F24	0100_4F15	0050_4F16	0100_2F27
2	0140_2F31	1000_4F37	0140_4F23	1000_2F34	1000_4F34	1000_2F36	1000_2F37
3
4
5
6
7	0050_2R11	0050_4R11	0050_2R13	0050_4R13	0100_2R15	0050_2R16	F_4R24
8	0100_4R22	0100_2R22	0140_2R23	F_2R24	0100_4R15	0050_4R16	0100_2R27
9	0140_2R31	1000_4R37	0140_4R23	1000_2R34	1000_4R34	1000_2R36	1000_2R37

Tray 3
Row\Column	0	1	2	3	4	5	6	7	8	9
0	0052_1F12	0052_1F14	0052_1F17	0102_1F21	0102_1F25	0142_1F26	1002_1F32	0142_1F33	1002_1F35
1	0052_1R12	0052_1R14	0052_1R17	0102_1R21	0102_1R25	0142_1R26	1002_1R32	0142_1R33	1002_1R35
2	0052_2F12	0052_2F14	0052_2F17	0102_2F21	0102_2F25	0142_2F26	1002_2F32	0142_2F33	1002_2F35
3	0052_2R12	0052_2R14	0052_2R17	0102_2R21	0102_2R25	0142_2R26	1002_2R32	0142_2R33	1002_2R35
4	0052_3F12	0052_3F14	0052_3F17	0102_3F21	0102_3F25	0142_3F26	1002_3F32	0142_3F33	1002_3F35
5	0100_3F27	0140_3F31	1000_3F36
6	0052_3R12	0052_3R14	0052_3R17	0102_3R21	0102_3R25	0142_3R26	1002_3R32	0142_3R33	1002_3R35
7	0100_3R27	0140_3R31	1000_3R36
8
9

Tray 4
Row\Column	0	1	2	3	4	5	6	7	8	9
0	0052_4F12	0052_4F14	0052_4F17	0102_4F21	0102_4F25	0142_4F26	1002_4F32	0142_4F33	1002_4F35
1	0100_4F27	0140_4F31	1000_4F36
2	0052_4R12	0052_4R14	0052_4R17	0102_4R21	0102_4R25	0142_4R26	1002_4R32	0142_4R33	1002_4R35
3	0100_4R27	0140_4R31	1000_4R36
4
5
6
7
8
9

Tray 5
Row\Column	0	1	2	3	4	5	6	7	8	9
0	0050_TEST1	0050_TEST2	0050_FPMT	0050_RPMT	0050_FPMT_BLK	0050_RPMT_BLK	F_FPMT1	F_FPMT2	F_RPMT1	F_RPMT2
1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1
2	0050_REF2	0052_REF2	0100_REF2	0102_REF2	0140_REF2	0142_REF2	1000_REF2	1002_REF2
3	F_REF1	F_REF2	F_REF3
4
5
6
7
8
9

Tray 6
Row\Column	0	1	2	3	4	5	6	7	8	9
0	GLASS_0_1	GLASS_0_2	PP_0_1	PP_0_2	GLASS_100_1	GLASS_100_2	PP_100_1	PP_100_2	GLASS_400_1	GLASS_400_2
1	PP_400_1	PP_400_2	GLASS_1000_1	GLASS_1000_2	PP_1000_1	PP_1000_2	0050_0_1	0050_0_2	0052_0_1	0052_0_2
2	0050_100_1	0050_100_2	0052_100_1	0052_100_2	0050_400_1	0050_400_2	0052_400_1	0052_400_2
3	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2	0100_10_1	0100_10_2
4	0102_10_1	0102_10_2	0100_100_1	0100_100_2	0102_100_1	0102_100_2	0100_400_1	0100_400_2	0102_400_1	0102_400_2
5	0100_1000_1	0100_1000_2	0102_1000_1	0102_1000_2
6
7	LS Vit. C	15% WbLS Vit. C	10% WbLS Vit. C	5% WbLS Vit. C	LS 10/20/14	WbLS-15 10/20/14	WbLS-10 10/20/14	WbLS-5 10/20/14
8
9

## Notes
SampleID name format: [%LS][%AO]_[Irrad Num][Front/Back][Row][Column]
eg: sample '52_1F23' denotes a sample composed of 5% WbLS, 2% AntiOxidant that was irradiated in irradiation #1, in the front holder, in matrix position (2,3)
Exceptions: PMT samples have 'PMT' instead of [Row][Column], Fricke samples have 'F' instead of [%LS][%AO], and unirradiated reference samples have 'REF[N]' (N is the duplication number) instead of [Irrad Num][Front/Back][Row][Column].

Legend for position in sample matrix (RowColumn) format:
11	12	13	14	15	16	17
21	22	23	24	25	26	27
31	32	33	34	35	36	37

There are 20 samples per matrix (+ 1 Fricke), so I can use 2 full trays to do one matrix on the LS6500. A value of '0' denotes a sample that was used in the PMT sample holder.

For the LS measurement, it is important to be smart about sample placement, and placing calibration markers in the sample chain to ensure that it is possible to always know what is being measured.
-- One idea is to encode the tray number by using the %WbLS ordering. This would work, provided the %WbLS can be unambiguously determined from the gross counts.
-- Another idea is to use a marker for each tray. Things that could serve as markers include sources (of varying activity), empty vials, and plastic scintillator.
Either way, the order of the LS measurement chain needs to be on the worksheet. In this definition, Tray 1 is the tray that is measured first.
It may be that multiple measurements need to be carried out. Each measurement can go on a new worksheet with the starting date of the measurement as an identifier.

Other options for calibration markers in the vial layout; H-3 source, C-14 source, plastic scintillator.

Added sheets to reflect the modified loading for the run on 141117. I've also modified the storage matrix to reflect this loadout.

## Pre-irrad_1_141014
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	EMPTY	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S15	EMPTY	0050_4R16	0052_4R17	0100_1R27	EMPTY	0100_2R27	0100_3R27	0100_4R27	1000_1R37	1000_2R37	1000_3R37	1000_4R37
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17	0100_1F27	0100_2F27	0100_3F27	0100_4F27
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

## Gamma_Pre-irradiation141017
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_0_1	0050_0_2	0052_0_1	0052_0_2	0050_100_1	0050_100_2	0052_100_1	0052_100_2	0050_400_1	0050_400_2
S2	0052_400_1	EMPTY	0052_400_2	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2
S3	0100_10_1	0100_10_2	EMPTY	0102_10_1	0102_10_2	0100_100_1	0100_100_2	0102_100_1	0102_100_2	0100_400_1	0100_400_2
S4	0102_400_1	0102_400_2	0100_1000_1	EMPTY	0100_1000_2	0102_1000_1	0102_1000_2

## Gamma_1Gy_141020
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2

## Gamma_All_141021
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_0_1	0050_0_2	0052_0_1	0052_0_2	0050_100_1	0050_100_2	0052_100_1	0052_100_2	0052_400_1	0052_400_2
S2	0050_400_1	EMPTY	0050_400_2	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2
S3	0100_10_1	0100_10_2	EMPTY	0102_10_1	0102_10_2	0100_100_1	0100_100_2	0102_100_1	0102_100_2	0100_400_1	0100_400_2
S4	0102_400_1	0102_400_2	0100_1000_1	EMPTY	0100_1000_2	0102_1000_1	0102_1000_2	GLASS_0_1	GLASS_0_2	PP_0_1	PP_0_2
S5	GLASS_100_1	GLASS_100_2	PP_100_1	PP_100_2	EMPTY	GLASS_400_1	GLASS_400_2	PP_400_1	PP_400_2	GLASS_1000_1	GLASS_1000_2
S6	PP_1000_1	PP_1000_2				EMPTY
S7	LS Vit. C	15% WbLS Vit. C	10% WbLS Vit. C	5% WbLS Vit. C	LS 10/20/14	WbLS-15 10/20/14	EMPTY	WbLS-10 10/20/14	WbLS-5 10/20/14

## Gamma_All_141022
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	EMPTY	0050_0_1	0050_0_2	0052_0_1	0052_0_2	0050_100_1	0050_100_2	0052_100_1	0052_100_2	0052_400_1	0052_400_2
S2	0050_400_1	EMPTY	0050_400_2	0100_0_1	0100_0_2	0102_0_1	0102_0_2	0100_1_1	0100_1_2	0102_1_1	0102_1_2
S3	0100_10_1	0100_10_2	EMPTY	0102_10_1	0102_10_2	0100_100_1	0100_100_2	0102_100_1	0102_100_2	0100_400_1	0100_400_2
S4	0102_400_1	0102_400_2	0100_1000_1	EMPTY	0100_1000_2	0102_1000_1	0102_1000_2	GLASS_0_1	GLASS_0_2	PP_0_1	PP_0_2
S5	GLASS_100_1	GLASS_100_2	PP_100_1	PP_100_2	EMPTY	GLASS_400_1	GLASS_400_2	PP_400_1	PP_400_2	GLASS_1000_1	GLASS_1000_2
S7	LS Vit. C	15% WbLS Vit. C	10% WbLS Vit. C	5% WbLS Vit. C	LS 10/20/14	WbLS-15 10/20/14	EMPTY	WbLS-10 10/20/14	WbLS-5 10/20/14	HDPE_0_1

## TempVariation_141024
Measurement Number	SampleID	Notes
1	1000_REF1	Started ~0 C, warming
2	1000_REF1	Started ~0 C, warming
3	1000_REF1	Started ~0 C, warming
4	1000_REF1	Started ~0 C, warming
5	1000_REF2	Room Temperature
6	1000_REF2	Room Temperature
7	1002_REF1	Started ~0 C, warming
8	1002_REF1	Started ~0 C, warming
9	1002_REF1	Started ~0 C, warming
10	1002_REF1	Started ~0 C, warming
11	1002_REF2	Room Temperature
12	1002_REF2	Room Temperature
13	1000_REF1	Started ~50 C, cooling
14	1000_REF1	Started ~50 C, cooling
15	1000_REF1	Started ~50 C, cooling
16	1000_REF1	Started ~50 C, cooling
17	1000_REF2	Room Temperature
18	1000_REF2	Room Temperature

## Pre-irrad_2_141024
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	STD_14_C	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17	0100_1F27	0100_2F27	0100_3F27	0100_4F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S15	EMPTY	0050_4R16	0052_4R17	0100_1R27	EMPTY	0100_2R27	0100_3R27	0100_4R27	1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

## Pre-irrad_3_141029
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	STD_14_C	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17	0100_1F27	0100_2F27	0100_3F27	0100_4F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S15	EMPTY	0050_4R16	0052_4R17	0100_1R27	EMPTY	0100_2R27	0100_3R27	0100_4R27	1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

## Pre-irrad_4_141031
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	STD_14_C	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17	0100_1F27	0100_2F27	0100_3F27	0100_4F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S15	EMPTY	0050_4R16	0052_4R17	0100_1R27	EMPTY	0100_2R27	0100_3R27	0100_4R27	1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

## Pre-irrad_5_141031
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	STD_14_C	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17	0100_1F27	0100_2F27	0100_3F27	0100_4F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S15	EMPTY	0050_4R16	0052_4R17	0100_1R27	EMPTY	0100_2R27	0100_3R27	0100_4R27	1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

## Pre-irrad_6_141105
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	STD_14_C	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17	0100_1F27	0100_2F27	0100_3F27	0100_4F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S15	EMPTY	0050_4R16	0052_4R17	0100_1R27	EMPTY	0100_2R27	0100_3R27	0100_4R27	1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

## Pre-irrad_7_141106
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13	0052_1F14	0050_2F13	0052_2F14	0050_3F13	0052_3F14	0050_4F13	0052_4F14	0100_1F15	0102_1F25	0100_2F15
S2	0102_2F25	STD_14_C	0100_3F15	0102_3F25	0100_4F15	0102_4F25	0140_1F23	0142_1F33	0140_2F23	0142_2F33	0140_3F23	0142_3F33
S3	0140_4F23	0142_4F33	EMPTY	1000_1F34	1002_1F35	1000_2F34	1002_2F35	1000_3F34	1002_3F35	1000_4F34	1002_4F35	0050_1R13
S4	0052_1R14	0050_2R13	0052_2R14	EMPTY	0050_3R13	0052_3R14	0050_4R13	0052_4R14	0100_1R15	0102_1R25	0100_2R15	0102_2R25
S5	0100_3R15	0102_3R25	0100_4R15	0102_4R25	EMPTY	0140_1R23	0142_1R33	0140_2R23	0142_2R33	0140_3R23	0142_3R33	0140_4R23
S6	0142_4R33	1000_1R34	1002_1R35	1000_2R34	1002_2R35	EMPTY	1000_3R34	1002_3R35	1000_4R34	1002_4R35	0050_FPMT	0050_RPMT
S7	0050_1F11	0052_1F12	0050_2F11	0052_2F12	0050_3F11	0052_3F12	EMPTY	0050_4F11	0052_4F12	0100_1F22	0102_1F21	0100_2F22
S8	0102_2F21	0100_3F22	0102_3F21	0100_4F22	0102_4F21	0140_1F31	0142_1F26	EMPTY	0140_2F31	0142_2F26	0140_3F31	0142_3F26
S9	0140_4F31	0142_4F26	1000_1F36	1002_1F32	1000_2F36	1002_2F32	1000_3F36	1002_3F32	EMPTY	1000_4F36	1002_4F32	0050_1R11
S10	0052_1R12	0050_2R11	0052_2R12	0050_3R11	0052_3R12	0050_4R11	0052_4R12	0100_1R22	0102_1R21	EMPTY	0100_2R22	0102_2R21
S11	0100_3R22	0102_3R21	0100_4R22	0102_4R21	0140_1R31	0142_1R26	0140_2R31	0142_2R26	0140_3R31	0142_3R26	EMPTY	0140_4R31
S12	0142_4R26	1000_1R36	1002_1R32	1000_2R36	1002_2R32	1000_3R36	1002_3R32	1000_4R36	1002_4R32	0050_1F16	0052_1F17	EMPTY
S13	EMPTY	0050_2F16	EMPTY	0052_2F17	0050_3F16	0052_3F17	0050_4F16	0052_4F17	0100_1F27	0100_2F27	0100_3F27	0100_4F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16	0052_1R17	0050_2R16	0052_2R17	0050_3R16	0052_3R17
S15	EMPTY	0050_4R16	0052_4R17	0100_1R27	EMPTY	0100_2R27	0100_3R27	0100_4R27	1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0052_REF1	0100_REF1	0102_REF1	0140_REF1	0142_REF1	1000_REF1	1002_REF1	0050_REF2	0052_REF2	0100_REF2	0102_REF2

## Pre-irrad_8_141107
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13		0050_2F13		0050_3F13		0050_4F13		0100_1F15		0100_2F15
S2		STD_14_C	0100_3F15		0100_4F15		0140_1F23		0140_2F23		0140_3F23
S3	0140_4F23		EMPTY	1000_1F34		1000_2F34		1000_3F34		1000_4F34		0050_1R13
S4		0050_2R13		EMPTY	0050_3R13		0050_4R13		0100_1R15		0100_2R15
S5	0100_3R15		0100_4R15		EMPTY	0140_1R23		0140_2R23		0140_3R23		0140_4R23
S6		1000_1R34		1000_2R34		EMPTY	1000_3R34		1000_4R34		0050_FPMT	0050_RPMT
S7	0050_1F11		0050_2F11		0050_3F11		EMPTY	0050_4F11		0100_1F22		0100_2F22
S8		0100_3F22		0100_4F22		0140_1F31		EMPTY	0140_2F31
S9			1000_1F36		1000_2F36				EMPTY			0050_1R11
S10		0050_2R11		0050_3R11		0050_4R11		0100_1R22		EMPTY	0100_2R22
S11	0100_3R22		0100_4R22		0140_1R31		0140_2R31				EMPTY
S12		1000_1R36		1000_2R36						0050_1F16		EMPTY
S13	EMPTY	0050_2F16	EMPTY		0050_3F16		0050_4F16		0100_1F27	0100_2F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16		0050_2R16		0050_3R16
S15	EMPTY	0050_4R16		0100_1R27	EMPTY	0100_2R27			1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0050_REF2	0100_REF1	0100_REF2	0140_REF1	0140_REF2	1000_REF1	1000_REF2

## Pre-irrad_9_141110
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13		0050_2F13		0050_3F13		0050_4F13		0100_1F15		0100_2F15
S2		STD_14_C	0100_3F15		0100_4F15		0140_1F23		0140_2F23		0140_3F23
S3	0140_4F23		EMPTY	1000_1F34		1000_2F34		1000_3F34		1000_4F34		0050_1R13
S4		0050_2R13		EMPTY	0050_3R13		0050_4R13		0100_1R15		0100_2R15
S5	0100_3R15		0100_4R15		EMPTY	0140_1R23		0140_2R23		0140_3R23		0140_4R23
S6		1000_1R34		1000_2R34		EMPTY	1000_3R34		1000_4R34		0050_FPMT	0050_RPMT
S7	0050_1F11		0050_2F11		0050_3F11		EMPTY	0050_4F11		0100_1F22		0100_2F22
S8		0100_3F22		0100_4F22		0140_1F31		EMPTY	0140_2F31
S9			1000_1F36		1000_2F36				EMPTY			0050_1R11
S10		0050_2R11		0050_3R11		0050_4R11		0100_1R22		EMPTY	0100_2R22
S11	0100_3R22		0100_4R22		0140_1R31		0140_2R31				EMPTY
S12		1000_1R36		1000_2R36						0050_1F16		EMPTY
S13	EMPTY	0050_2F16	EMPTY		0050_3F16		0050_4F16		0100_1F27	0100_2F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16		0050_2R16		0050_3R16
S15	EMPTY	0050_4R16		0100_1R27	EMPTY	0100_2R27			1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0050_REF2	0100_REF1	0100_REF2	0140_REF1	0140_REF2	1000_REF1	1000_REF2

## Pre-irrad_10_141113
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13		0050_2F13		0050_3F13		0050_4F13		0100_1F15		0100_2F15
S2		STD_14_C	0100_3F15		0100_4F15		0140_1F23		0140_2F23		0140_3F23
S3	0140_4F23		EMPTY	1000_1F34		1000_2F34		1000_3F34		1000_4F34		0050_1R13
S4		0050_2R13		EMPTY	0050_3R13		0050_4R13		0100_1R15		0100_2R15
S5	0100_3R15		0100_4R15		EMPTY	0140_1R23		0140_2R23		0140_3R23		0140_4R23
S6		1000_1R34		1000_2R34		EMPTY	1000_3R34		1000_4R34		0050_FPMT	0050_RPMT
S7	0050_1F11		0050_2F11		0050_3F11		EMPTY	0050_4F11		0100_1F22		0100_2F22
S8		0100_3F22		0100_4F22		0140_1F31		EMPTY	0140_2F31
S9			1000_1F36		1000_2F36				EMPTY			0050_1R11
S10		0050_2R11		0050_3R11		0050_4R11		0100_1R22		EMPTY	0100_2R22
S11	0100_3R22		0100_4R22		0140_1R31		0140_2R31				EMPTY
S12		1000_1R36		1000_2R36						0050_1F16		EMPTY
S13	EMPTY	0050_2F16	EMPTY		0050_3F16		0050_4F16		0100_1F27	0100_2F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16		0050_2R16		0050_3R16
S15	EMPTY	0050_4R16		0100_1R27	EMPTY	0100_2R27			1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0050_REF2	0100_REF1	0100_REF2	0140_REF1	0140_REF2	1000_REF1	1000_REF2

## Pre-irrad_11_141114
Tray ID	Position 1	Position 2	Position 3	Position 4	Position 5	Position 6	Position 7	Position 8	Position 9	Position 10	Position 11	Position 12
S1	STD_3_H	0050_1F13		0050_2F13		0050_3F13		0050_4F13		0100_1F15		0100_2F15
S2		STD_14_C	0100_3F15		0100_4F15		0140_1F23		0140_2F23		0140_3F23
S3	0140_4F23		EMPTY	1000_1F34		1000_2F34		1000_3F34		1000_4F34		0050_1R13
S4		0050_2R13		EMPTY	0050_3R13		0050_4R13		0100_1R15		0100_2R15
S5	0100_3R15		0100_4R15		EMPTY	0140_1R23		0140_2R23		0140_3R23		0140_4R23
S6		1000_1R34		1000_2R34		EMPTY	1000_3R34		1000_4R34		0050_FPMT	0050_RPMT
S7	0050_1F11		0050_2F11		0050_3F11		EMPTY	0050_4F11		0100_1F22		0100_2F22
S8		0100_3F22		0100_4F22		0140_1F31		EMPTY	0140_2F31
S9			1000_1F36		1000_2F36				EMPTY			0050_1R11
S10		0050_2R11		0050_3R11		0050_4R11		0100_1R22		EMPTY	0100_2R22
S11	0100_3R22		0100_4R22		0140_1R31		0140_2R31				EMPTY
S12		1000_1R36		1000_2R36						0050_1F16		EMPTY
S13	EMPTY	0050_2F16	EMPTY		0050_3F16		0050_4F16		0100_1F27	0100_2F27
S14	EMPTY	1000_1F37	1000_2F37	EMPTY	1000_3F37	1000_4F37	0050_1R16		0050_2R16		0050_3R16
S15	EMPTY	0050_4R16		0100_1R27	EMPTY	0100_2R27			1000_1R37	1000_2R37	1000_3R37	1000_4R37
R1	0050_REF1	0050_REF2	0100_REF1	0100_REF2	0140_REF1	0140_REF2	1000_REF1	1000_REF2