## Received Dose
Irradiation # | Dose Front (Gy) | Dose Rear (Gy)
1
2
3
4
5

## Attenuation Length
Below is a list of samples taken for attenuation length measurements:
Sample Name
0100_1F27
0100_2F27
0100_3F27
0100_4F27
0100_1R27
0100_1R27
0100_2R27
0100_3R27
0100_4R27
1000_1F37
1000_2F37
1000_3F37
1000_4F37
1000_1R37
1000_2R37
1000_3R37
1000_4R37

## HolderMatrix, Planned Irrad 141014
Irradiation 1, Front | [7 empty] | Irradiation 1, Rear
Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 0050_1F11 | 0052_1F12 | 0050_1F13 | 0052_1F14 | 0100_1F15 | 0050_1F16 | 0052_1F17 | 1 | 0050_1R11 | 0052_1R12 | 0050_1R13 | 0052_1R14 | 0100_1R15 | 0050_1R16 | 0052_1R17
2 | 0102_1F21 | 0100_1F22 | 0140_1F23 | F_1F24 | 0102_1F25 | 0142_1F26 | 0100_1F27 | 2 | 0102_1R21 | 0100_1R22 | 0140_1R23 | F_1R24 | 0102_1R25 | 0142_1R26 | 0100_1R27
3 | 0140_1F31 | 1002_1F32 | 0142_1F33 | 1000_1F34 | 1002_1F35 | 1000_1F36 | 1000_1F37 | 3 | 0140_1R31 | 1002_1R32 | 0142_1R33 | 1000_1R34 | 1002_1R35 | 1000_1R36 | 1000_1R37
Irradiation 2, Front | [7 empty] | Irradiation 2, Rear
Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 0050_2F11 | 0052_2F12 | 0050_2F13 | 0052_2F14 | 0100_2F15 | 0050_2F16 | 0052_2F17 | 1 | 0050_2R11 | 0052_2R12 | 0050_2R13 | 0052_2R14 | 0100_2R15 | 0050_2R16 | 0052_2R17
2 | 0102_2F21 | 0100_2F22 | 0140_2F23 | F_2F24 | 0102_2F25 | 0142_2F26 | 0100_2F27 | 2 | 0102_2R21 | 0100_2R22 | 0140_2R23 | F_2R24 | 0102_2R25 | 0142_2R26 | 0100_2R27
3 | 0140_2F31 | 1002_2F32 | 0142_2F33 | 1000_2F34 | 1002_2F35 | 1000_2F36 | 1000_2F37 | 3 | 0140_2R31 | 1002_2R32 | 0142_2R33 | 1000_2R34 | 1002_2R35 | 1000_2R36 | 1000_2R37
Irradiation 3, Front | [7 empty] | Irradiation 3, Rear
Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 0050_3F11 | 0052_3F12 | 0050_3F13 | 0052_3F14 | 0100_3F15 | 0050_3F16 | 0052_3F17 | 1 | 0050_3R11 | 0052_3R12 | 0050_3R13 | 0052_3R14 | 0100_3R15 | 0050_3R16 | 0052_3R17
2 | 0102_3F21 | 0100_3F22 | 0140_3F23 | F_3F24 | 0102_3F25 | 0142_3F26 | 0100_3F27 | 2 | 0102_3R21 | 0100_3R22 | 0140_3R23 | F_3R24 | 0102_3R25 | 0142_3R26 | 0100_3R27
3 | 0140_3F31 | 1002_3F32 | 0142_3F33 | 1000_3F34 | 1002_3F35 | 1000_3F36 | 1000_3F37 | 3 | 0140_3R31 | 1002_3R32 | 0142_3R33 | 1000_3R34 | 1002_3R35 | 1000_3R36 | 1000_3R37
Irradiation 4, Front | [7 empty] | Irradiation 3, Rear
Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 0050_4F11 | 0052_4F12 | 0050_4F13 | 0052_4F14 | 0100_4F15 | 0050_4F16 | 0052_4F17 | 1 | 0050_4R11 | 0052_4R12 | 0050_4R13 | 0052_4R14 | 0100_4R15 | 0050_4R16 | 0052_4R17
2 | 0102_4F21 | 0100_4F22 | 0140_4F23 | F_4F24 | 0102_4F25 | 0142_4F26 | 0100_4F27 | 2 | 0102_4R21 | 0100_4R22 | 0140_4R23 | F_4R24 | 0102_4R25 | 0142_4R26 | 0100_4R27
3 | 0140_4F31 | 1002_4F32 | 0142_4F33 | 1000_4F34 | 1002_4F35 | 1000_4F36 | 1000_4F37 | 3 | 0140_4R31 | 1002_4R32 | 0142_4R33 | 1000_4R34 | 1002_4R35 | 1000_4R36 | 1000_4R37
Irradiation 5
Front: | 0050_FPMT | F_FPMT1 | F_FPMT2
Rear: | 0050_RPMT | F_RPMT1 | F_RPMT2
Not Irradiated:
0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1
0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2 | 0140_REF2 | 0142_REF2 | 1000_REF2 | 1002_REF2
F_REF1 | F_REF2 | F_REF3

## Holder Matrix, Irrad 141117
Irradiation 1, Front | [7 empty] | Irradiation 1, Rear
Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 0050_1F11 | 0050_3F11 | 0050_1F13 | 0050_3F13 | 0100_1F15 | 0050_1F16 | F_3F24 | 1 | 0050_1R11 | 0050_3R11 | 0050_1R13 | 0050_3R13 | 0100_1R15 | 0050_1R16 | F_3R24
2 | 0100_3F22 | 0100_1F22 | 0140_1F23 | F_1F24 | 0100_3F15 | 0050_3F16 | 0100_1F27 | 2 | 0100_3R22 | 0100_1R22 | 0140_1R23 | F_1R24 | 0100_3R15 | 0050_3R16 | 0100_1R27
3 | 0140_1F31 | 1000_3F37 | 0140_3F23 | 1000_1F34 | 1000_3F34 | 1000_1F36 | 1000_1F37 | 3 | 0140_1R31 | 1000_3R37 | 0140_3R23 | 1000_1R34 | 1000_3R34 | 1000_1R36 | 1000_1R37
Irradiation 2, Front | [7 empty] | Irradiation 2, Rear
Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Column\Row | 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 0050_2F11 | 0050_4F11 | 0050_2F13 | 0050_4F13 | 0100_2F15 | 0050_2F16 | F_4F24 | 1 | 0050_2R11 | 0050_4R11 | 0050_2R13 | 0050_4R13 | 0100_2R15 | 0050_2R16 | F_4R24
2 | 0100_4F22 | 0100_2F22 | 0140_2F23 | F_2F24 | 0100_4F15 | 0050_4F16 | 0100_2F27 | 2 | 0100_4R22 | 0100_2R22 | 0140_2R23 | F_2R24 | 0100_4R15 | 0050_4R16 | 0100_2R27
3 | 0140_2F31 | 1000_4F37 | 0140_4F23 | 1000_2F34 | 1000_4F34 | 1000_2F36 | 1000_2F37 | 3 | 0140_2R31 | 1000_4R37 | 0140_4R23 | 1000_2R34 | 1000_4R34 | 1000_2R36 | 1000_2R37

## LS Measurement arrangement
Pre-irradiation measurements 141014 (actual)
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | EMPTY | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S15 | EMPTY | 0050_4R16 | 0052_4R17 | 0100_1R27 | EMPTY | 0100_2R27 | 0100_3R27 | 0100_4R27 | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17 | 0100_1F27 | 0100_2F27 | 0100_3F27 | 0100_4F27
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2
Gamma Pre-irradiation measurements 141017 (actual)
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_0_1 | 0050_0_2 | 0052_0_1 | 0052_0_2 | 0050_100_1 | 0050_100_2 | 0052_100_1 | 0052_100_2 | 0050_400_1 | 0050_400_2
S2 | 0052_400_1 | EMPTY | 0052_400_2 | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2
S3 | 0100_10_1 | 0100_10_2 | EMPTY | 0102_10_1 | 0102_10_2 | 0100_100_1 | 0100_100_2 | 0102_100_1 | 0102_100_2 | 0100_400_1 | 0100_400_2
S4 | 0102_400_1 | 0102_400_2 | 0100_1000_1 | EMPTY | 0100_1000_2 | 0102_1000_1 | 0102_1000_2
Gamma Post-irradiation measurements 141020 (actual)
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2
Gamma Post-irradiation measurements 141021 (actual)
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_0_1 | 0050_0_2 | 0052_0_1 | 0052_0_2 | 0050_100_1 | 0050_100_2 | 0052_100_1 | 0052_100_2 | 0052_400_1 | 0052_400_2
S2 | 0050_400_1 | EMPTY | 0050_400_2 | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2
S3 | 0100_10_1 | 0100_10_2 | EMPTY | 0102_10_1 | 0102_10_2 | 0100_100_1 | 0100_100_2 | 0102_100_1 | 0102_100_2 | 0100_400_1 | 0100_400_2
S4 | 0102_400_1 | 0102_400_2 | 0100_1000_1 | EMPTY | 0100_1000_2 | 0102_1000_1 | 0102_1000_2 | GLASS_0_1 | GLASS_0_2 | PP_0_1 | PP_0_2
S5 | GLASS_100_1 | GLASS_100_2 | PP_100_1 | PP_100_2 | EMPTY | GLASS_400_1 | GLASS_400_2 | PP_400_1 | PP_400_2 | GLASS_1000_1 | GLASS_1000_2
S6 | PP_1000_1 | PP_1000_2 |  |  |  | EMPTY
S7 | LS Vit. C | 15% WbLS Vit. C | 10% WbLS Vit. C | 5% WbLS Vit. C | LS 10/20/14 | WbLS-15 10/20/14 | EMPTY | WbLS-10 10/20/14 | WbLS-5 10/20/14
Gamma Post-irradiation Measurements 141022 (actual)
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_0_1 | 0050_0_2 | 0052_0_1 | 0052_0_2 | 0050_100_1 | 0050_100_2 | 0052_100_1 | 0052_100_2 | 0052_400_1 | 0052_400_2
S2 | 0050_400_1 | EMPTY | 0050_400_2 | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2
S3 | 0100_10_1 | 0100_10_2 | EMPTY | 0102_10_1 | 0102_10_2 | 0100_100_1 | 0100_100_2 | 0102_100_1 | 0102_100_2 | 0100_400_1 | 0100_400_2
S4 | 0102_400_1 | 0102_400_2 | 0100_1000_1 | EMPTY | 0100_1000_2 | 0102_1000_1 | 0102_1000_2 | GLASS_0_1 | GLASS_0_2 | PP_0_1 | PP_0_2
S5 | GLASS_100_1 | GLASS_100_2 | PP_100_1 | PP_100_2 | EMPTY | GLASS_400_1 | GLASS_400_2 | PP_400_1 | PP_400_2 | GLASS_1000_1 | GLASS_1000_2
S6 | PP_1000_1 | PP_1000_2 |  |  |  | EMPTY
S7 | LS Vit. C | 15% WbLS Vit. C | 10% WbLS Vit. C | 5% WbLS Vit. C | LS 10/20/14 | WbLS-15 10/20/14 | EMPTY | WbLS-10 10/20/14 | WbLS-5 10/20/14 | HDPE_0_1 | 0
Post-irradiation measurements (planned)
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | EMPTY | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17
S14 | EMPTY |  |  | EMPTY |  |  | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S15 | EMPTY | 0050_4R16 | 0052_4R17 |  | EMPTY
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2

## Storage Matrix
Tray 1
Row\Column | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
0 | 0050_1F11 | 0050_3F11 | 0050_1F13 | 0050_3F13 | 0100_1F15 | 0050_1F16 | F_3F24
1 | 0100_3F22 | 0100_1F22 | 0140_1F23 | F_1F24 | 0100_3F15 | 0050_3F16 | 0100_1F27
2 | 0140_1F31 | 1000_3F37 | 0140_3F23 | 1000_1F34 | 1000_3F34 | 1000_1F36 | 1000_1F37
3
4
5
6
7 | 0050_1R11 | 0050_3R11 | 0050_1R13 | 0050_3R13 | 0100_1R15 | 0050_1R16 | F_3R24
8 | 0100_3R22 | 0100_1R22 | 0140_1R23 | F_1R24 | 0100_3R15 | 0050_3R16 | 0100_1R27
9 | 0140_1R31 | 1000_3R37 | 0140_3R23 | 1000_1R34 | 1000_3R34 | 1000_1R36 | 1000_1R37
Tray 2
Row\Column | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
0 | 0050_2F11 | 0050_4F11 | 0050_2F13 | 0050_4F13 | 0100_2F15 | 0050_2F16 | F_4F24
1 | 0100_4F22 | 0100_2F22 | 0140_2F23 | F_2F24 | 0100_4F15 | 0050_4F16 | 0100_2F27
2 | 0140_2F31 | 1000_4F37 | 0140_4F23 | 1000_2F34 | 1000_4F34 | 1000_2F36 | 1000_2F37
3
4
5
6
7 | 0050_2R11 | 0050_4R11 | 0050_2R13 | 0050_4R13 | 0100_2R15 | 0050_2R16 | F_4R24
8 | 0100_4R22 | 0100_2R22 | 0140_2R23 | F_2R24 | 0100_4R15 | 0050_4R16 | 0100_2R27
9 | 0140_2R31 | 1000_4R37 | 0140_4R23 | 1000_2R34 | 1000_4R34 | 1000_2R36 | 1000_2R37
Tray 3
Row\Column | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
0 | 0052_1F12 | 0052_1F14 | 0052_1F17 | 0102_1F21 | 0102_1F25 | 0142_1F26 | 1002_1F32 | 0142_1F33 | 1002_1F35
1 | 0052_1R12 | 0052_1R14 | 0052_1R17 | 0102_1R21 | 0102_1R25 | 0142_1R26 | 1002_1R32 | 0142_1R33 | 1002_1R35
2 | 0052_2F12 | 0052_2F14 | 0052_2F17 | 0102_2F21 | 0102_2F25 | 0142_2F26 | 1002_2F32 | 0142_2F33 | 1002_2F35
3 | 0052_2R12 | 0052_2R14 | 0052_2R17 | 0102_2R21 | 0102_2R25 | 0142_2R26 | 1002_2R32 | 0142_2R33 | 1002_2R35
4 | 0052_3F12 | 0052_3F14 | 0052_3F17 | 0102_3F21 | 0102_3F25 | 0142_3F26 | 1002_3F32 | 0142_3F33 | 1002_3F35
5 | 0100_3F27 | 0140_3F31 | 1000_3F36
6 | 0052_3R12 | 0052_3R14 | 0052_3R17 | 0102_3R21 | 0102_3R25 | 0142_3R26 | 1002_3R32 | 0142_3R33 | 1002_3R35
7 | 0100_3R27 | 0140_3R31 | 1000_3R36
8
9
Tray 4
Row\Column | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
0 | 0052_4F12 | 0052_4F14 | 0052_4F17 | 0102_4F21 | 0102_4F25 | 0142_4F26 | 1002_4F32 | 0142_4F33 | 1002_4F35
1 | 0100_4F27 | 0140_4F31 | 1000_4F36
2 | 0052_4R12 | 0052_4R14 | 0052_4R17 | 0102_4R21 | 0102_4R25 | 0142_4R26 | 1002_4R32 | 0142_4R33 | 1002_4R35
3 | 0100_4R27 | 0140_4R31 | 1000_4R36
4
5
6
7
8
9
Tray 5
Row\Column | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
0 | 0050_TEST1 | 0050_TEST2 | 0050_FPMT | 0050_RPMT | 0050_FPMT_BLK | 0050_RPMT_BLK | F_FPMT1 | F_FPMT2 | F_RPMT1 | F_RPMT2
1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1
2 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2 | 0140_REF2 | 0142_REF2 | 1000_REF2 | 1002_REF2
3 | F_REF1 | F_REF2 | F_REF3
4
5
6
7
8
9
Tray 6
Row\Column | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
0 | GLASS_0_1 | GLASS_0_2 | PP_0_1 | PP_0_2 | GLASS_100_1 | GLASS_100_2 | PP_100_1 | PP_100_2 | GLASS_400_1 | GLASS_400_2
1 | PP_400_1 | PP_400_2 | GLASS_1000_1 | GLASS_1000_2 | PP_1000_1 | PP_1000_2 | 0050_0_1 | 0050_0_2 | 0052_0_1 | 0052_0_2
2 | 0050_100_1 | 0050_100_2 | 0052_100_1 | 0052_100_2 | 0050_400_1 | 0050_400_2 | 0052_400_1 | 0052_400_2
3 | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2 | 0100_10_1 | 0100_10_2
4 | 0102_10_1 | 0102_10_2 | 0100_100_1 | 0100_100_2 | 0102_100_1 | 0102_100_2 | 0100_400_1 | 0100_400_2 | 0102_400_1 | 0102_400_2
5 | 0100_1000_1 | 0100_1000_2 | 0102_1000_1 | 0102_1000_2
6
7 | LS Vit. C | 15% WbLS Vit. C | 10% WbLS Vit. C | 5% WbLS Vit. C | LS 10/20/14 | WbLS-15 10/20/14 | WbLS-10 10/20/14 | WbLS-5 10/20/14
8
9

## Notes
SampleID name format: [%LS][%AO]_[Irrad Num][Front/Back][Row][Column]
eg: sample '52_1F23' denotes a sample composed of 5% WbLS, 2% AntiOxidant that was irradiated in irradiation #1, in the front holder, in matrix position (2,3)
Exceptions: PMT samples have 'PMT' instead of [Row][Column], Fricke samples have 'F' instead of [%LS][%AO], and unirradiated reference samples have 'REF[N]' (N is the duplication number) instead of [Irrad Num][Front/Back][Row][Column].
Legend for position in sample matrix (RowColumn) format:
11 | 12 | 13 | 14 | 15 | 16 | 17
21 | 22 | 23 | 24 | 25 | 26 | 27
31 | 32 | 33 | 34 | 35 | 36 | 37
There are 20 samples per matrix (+ 1 Fricke), so I can use 2 full trays to do one matrix on the LS6500. A value of '0' denotes a sample that was used in the PMT sample holder.
For the LS measurement, it is important to be smart about sample placement, and placing calibration markers in the sample chain to ensure that it is possible to always know what is being measured.
-- One idea is to encode the tray number by using the %WbLS ordering. This would work, provided the %WbLS can be unambiguously determined from the gross counts.
-- Another idea is to use a marker for each tray. Things that could serve as markers include sources (of varying activity), empty vials, and plastic scintillator.
Either way, the order of the LS measurement chain needs to be on the worksheet. In this definition, Tray 1 is the tray that is measured first.
It may be that multiple measurements need to be carried out. Each measurement can go on a new worksheet with the starting date of the measurement as an identifier.
Other options for calibration markers in the vial layout; H-3 source, C-14 source, plastic scintillator.
Added sheets to reflect the modified loading for the run on 141117. I've also modified the storage matrix to reflect this loadout.

## Pre-irrad_1_141014
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | EMPTY | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S15 | EMPTY | 0050_4R16 | 0052_4R17 | 0100_1R27 | EMPTY | 0100_2R27 | 0100_3R27 | 0100_4R27 | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17 | 0100_1F27 | 0100_2F27 | 0100_3F27 | 0100_4F27
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2

## Gamma_Pre-irradiation141017
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_0_1 | 0050_0_2 | 0052_0_1 | 0052_0_2 | 0050_100_1 | 0050_100_2 | 0052_100_1 | 0052_100_2 | 0050_400_1 | 0050_400_2
S2 | 0052_400_1 | EMPTY | 0052_400_2 | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2
S3 | 0100_10_1 | 0100_10_2 | EMPTY | 0102_10_1 | 0102_10_2 | 0100_100_1 | 0100_100_2 | 0102_100_1 | 0102_100_2 | 0100_400_1 | 0100_400_2
S4 | 0102_400_1 | 0102_400_2 | 0100_1000_1 | EMPTY | 0100_1000_2 | 0102_1000_1 | 0102_1000_2

## Gamma_1Gy_141020
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2

## Gamma_All_141021
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_0_1 | 0050_0_2 | 0052_0_1 | 0052_0_2 | 0050_100_1 | 0050_100_2 | 0052_100_1 | 0052_100_2 | 0052_400_1 | 0052_400_2
S2 | 0050_400_1 | EMPTY | 0050_400_2 | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2
S3 | 0100_10_1 | 0100_10_2 | EMPTY | 0102_10_1 | 0102_10_2 | 0100_100_1 | 0100_100_2 | 0102_100_1 | 0102_100_2 | 0100_400_1 | 0100_400_2
S4 | 0102_400_1 | 0102_400_2 | 0100_1000_1 | EMPTY | 0100_1000_2 | 0102_1000_1 | 0102_1000_2 | GLASS_0_1 | GLASS_0_2 | PP_0_1 | PP_0_2
S5 | GLASS_100_1 | GLASS_100_2 | PP_100_1 | PP_100_2 | EMPTY | GLASS_400_1 | GLASS_400_2 | PP_400_1 | PP_400_2 | GLASS_1000_1 | GLASS_1000_2
S6 | PP_1000_1 | PP_1000_2 |  |  |  | EMPTY
S7 | LS Vit. C | 15% WbLS Vit. C | 10% WbLS Vit. C | 5% WbLS Vit. C | LS 10/20/14 | WbLS-15 10/20/14 | EMPTY | WbLS-10 10/20/14 | WbLS-5 10/20/14

## Gamma_All_141022
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | EMPTY | 0050_0_1 | 0050_0_2 | 0052_0_1 | 0052_0_2 | 0050_100_1 | 0050_100_2 | 0052_100_1 | 0052_100_2 | 0052_400_1 | 0052_400_2
S2 | 0050_400_1 | EMPTY | 0050_400_2 | 0100_0_1 | 0100_0_2 | 0102_0_1 | 0102_0_2 | 0100_1_1 | 0100_1_2 | 0102_1_1 | 0102_1_2
S3 | 0100_10_1 | 0100_10_2 | EMPTY | 0102_10_1 | 0102_10_2 | 0100_100_1 | 0100_100_2 | 0102_100_1 | 0102_100_2 | 0100_400_1 | 0100_400_2
S4 | 0102_400_1 | 0102_400_2 | 0100_1000_1 | EMPTY | 0100_1000_2 | 0102_1000_1 | 0102_1000_2 | GLASS_0_1 | GLASS_0_2 | PP_0_1 | PP_0_2
S5 | GLASS_100_1 | GLASS_100_2 | PP_100_1 | PP_100_2 | EMPTY | GLASS_400_1 | GLASS_400_2 | PP_400_1 | PP_400_2 | GLASS_1000_1 | GLASS_1000_2
S7 | LS Vit. C | 15% WbLS Vit. C | 10% WbLS Vit. C | 5% WbLS Vit. C | LS 10/20/14 | WbLS-15 10/20/14 | EMPTY | WbLS-10 10/20/14 | WbLS-5 10/20/14 | HDPE_0_1

## TempVariation_141024
Measurement Number | SampleID | Notes
1 | 1000_REF1 | Started ~0 C, warming
2 | 1000_REF1 | Started ~0 C, warming
3 | 1000_REF1 | Started ~0 C, warming
4 | 1000_REF1 | Started ~0 C, warming
5 | 1000_REF2 | Room Temperature
6 | 1000_REF2 | Room Temperature
7 | 1002_REF1 | Started ~0 C, warming
8 | 1002_REF1 | Started ~0 C, warming
9 | 1002_REF1 | Started ~0 C, warming
10 | 1002_REF1 | Started ~0 C, warming
11 | 1002_REF2 | Room Temperature
12 | 1002_REF2 | Room Temperature
13 | 1000_REF1 | Started ~50 C, cooling
14 | 1000_REF1 | Started ~50 C, cooling
15 | 1000_REF1 | Started ~50 C, cooling
16 | 1000_REF1 | Started ~50 C, cooling
17 | 1000_REF2 | Room Temperature
18 | 1000_REF2 | Room Temperature

## Pre-irrad_2_141024
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | STD_14_C | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17 | 0100_1F27 | 0100_2F27 | 0100_3F27 | 0100_4F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S15 | EMPTY | 0050_4R16 | 0052_4R17 | 0100_1R27 | EMPTY | 0100_2R27 | 0100_3R27 | 0100_4R27 | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2

## Pre-irrad_3_141029
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | STD_14_C | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17 | 0100_1F27 | 0100_2F27 | 0100_3F27 | 0100_4F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S15 | EMPTY | 0050_4R16 | 0052_4R17 | 0100_1R27 | EMPTY | 0100_2R27 | 0100_3R27 | 0100_4R27 | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2

## Pre-irrad_4_141031
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | STD_14_C | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17 | 0100_1F27 | 0100_2F27 | 0100_3F27 | 0100_4F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S15 | EMPTY | 0050_4R16 | 0052_4R17 | 0100_1R27 | EMPTY | 0100_2R27 | 0100_3R27 | 0100_4R27 | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2

## Pre-irrad_5_141031
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | STD_14_C | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17 | 0100_1F27 | 0100_2F27 | 0100_3F27 | 0100_4F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S15 | EMPTY | 0050_4R16 | 0052_4R17 | 0100_1R27 | EMPTY | 0100_2R27 | 0100_3R27 | 0100_4R27 | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2

## Pre-irrad_6_141105
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | STD_14_C | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17 | 0100_1F27 | 0100_2F27 | 0100_3F27 | 0100_4F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S15 | EMPTY | 0050_4R16 | 0052_4R17 | 0100_1R27 | EMPTY | 0100_2R27 | 0100_3R27 | 0100_4R27 | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2

## Pre-irrad_7_141106
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 | 0052_1F14 | 0050_2F13 | 0052_2F14 | 0050_3F13 | 0052_3F14 | 0050_4F13 | 0052_4F14 | 0100_1F15 | 0102_1F25 | 0100_2F15
S2 | 0102_2F25 | STD_14_C | 0100_3F15 | 0102_3F25 | 0100_4F15 | 0102_4F25 | 0140_1F23 | 0142_1F33 | 0140_2F23 | 0142_2F33 | 0140_3F23 | 0142_3F33
S3 | 0140_4F23 | 0142_4F33 | EMPTY | 1000_1F34 | 1002_1F35 | 1000_2F34 | 1002_2F35 | 1000_3F34 | 1002_3F35 | 1000_4F34 | 1002_4F35 | 0050_1R13
S4 | 0052_1R14 | 0050_2R13 | 0052_2R14 | EMPTY | 0050_3R13 | 0052_3R14 | 0050_4R13 | 0052_4R14 | 0100_1R15 | 0102_1R25 | 0100_2R15 | 0102_2R25
S5 | 0100_3R15 | 0102_3R25 | 0100_4R15 | 0102_4R25 | EMPTY | 0140_1R23 | 0142_1R33 | 0140_2R23 | 0142_2R33 | 0140_3R23 | 0142_3R33 | 0140_4R23
S6 | 0142_4R33 | 1000_1R34 | 1002_1R35 | 1000_2R34 | 1002_2R35 | EMPTY | 1000_3R34 | 1002_3R35 | 1000_4R34 | 1002_4R35 | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 | 0052_1F12 | 0050_2F11 | 0052_2F12 | 0050_3F11 | 0052_3F12 | EMPTY | 0050_4F11 | 0052_4F12 | 0100_1F22 | 0102_1F21 | 0100_2F22
S8 | 0102_2F21 | 0100_3F22 | 0102_3F21 | 0100_4F22 | 0102_4F21 | 0140_1F31 | 0142_1F26 | EMPTY | 0140_2F31 | 0142_2F26 | 0140_3F31 | 0142_3F26
S9 | 0140_4F31 | 0142_4F26 | 1000_1F36 | 1002_1F32 | 1000_2F36 | 1002_2F32 | 1000_3F36 | 1002_3F32 | EMPTY | 1000_4F36 | 1002_4F32 | 0050_1R11
S10 | 0052_1R12 | 0050_2R11 | 0052_2R12 | 0050_3R11 | 0052_3R12 | 0050_4R11 | 0052_4R12 | 0100_1R22 | 0102_1R21 | EMPTY | 0100_2R22 | 0102_2R21
S11 | 0100_3R22 | 0102_3R21 | 0100_4R22 | 0102_4R21 | 0140_1R31 | 0142_1R26 | 0140_2R31 | 0142_2R26 | 0140_3R31 | 0142_3R26 | EMPTY | 0140_4R31
S12 | 0142_4R26 | 1000_1R36 | 1002_1R32 | 1000_2R36 | 1002_2R32 | 1000_3R36 | 1002_3R32 | 1000_4R36 | 1002_4R32 | 0050_1F16 | 0052_1F17 | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY | 0052_2F17 | 0050_3F16 | 0052_3F17 | 0050_4F16 | 0052_4F17 | 0100_1F27 | 0100_2F27 | 0100_3F27 | 0100_4F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 | 0052_1R17 | 0050_2R16 | 0052_2R17 | 0050_3R16 | 0052_3R17
S15 | EMPTY | 0050_4R16 | 0052_4R17 | 0100_1R27 | EMPTY | 0100_2R27 | 0100_3R27 | 0100_4R27 | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0052_REF1 | 0100_REF1 | 0102_REF1 | 0140_REF1 | 0142_REF1 | 1000_REF1 | 1002_REF1 | 0050_REF2 | 0052_REF2 | 0100_REF2 | 0102_REF2

## Pre-irrad_8_141107
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 |  | 0050_2F13 |  | 0050_3F13 |  | 0050_4F13 |  | 0100_1F15 |  | 0100_2F15
S2 |  | STD_14_C | 0100_3F15 |  | 0100_4F15 |  | 0140_1F23 |  | 0140_2F23 |  | 0140_3F23
S3 | 0140_4F23 |  | EMPTY | 1000_1F34 |  | 1000_2F34 |  | 1000_3F34 |  | 1000_4F34 |  | 0050_1R13
S4 |  | 0050_2R13 |  | EMPTY | 0050_3R13 |  | 0050_4R13 |  | 0100_1R15 |  | 0100_2R15
S5 | 0100_3R15 |  | 0100_4R15 |  | EMPTY | 0140_1R23 |  | 0140_2R23 |  | 0140_3R23 |  | 0140_4R23
S6 |  | 1000_1R34 |  | 1000_2R34 |  | EMPTY | 1000_3R34 |  | 1000_4R34 |  | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 |  | 0050_2F11 |  | 0050_3F11 |  | EMPTY | 0050_4F11 |  | 0100_1F22 |  | 0100_2F22
S8 |  | 0100_3F22 |  | 0100_4F22 |  | 0140_1F31 |  | EMPTY | 0140_2F31
S9 |  |  | 1000_1F36 |  | 1000_2F36 |  |  |  | EMPTY |  |  | 0050_1R11
S10 |  | 0050_2R11 |  | 0050_3R11 |  | 0050_4R11 |  | 0100_1R22 |  | EMPTY | 0100_2R22
S11 | 0100_3R22 |  | 0100_4R22 |  | 0140_1R31 |  | 0140_2R31 |  |  |  | EMPTY
S12 |  | 1000_1R36 |  | 1000_2R36 | [5 empty] | 0050_1F16 |  | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY |  | 0050_3F16 |  | 0050_4F16 |  | 0100_1F27 | 0100_2F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 |  | 0050_2R16 |  | 0050_3R16
S15 | EMPTY | 0050_4R16 |  | 0100_1R27 | EMPTY | 0100_2R27 |  |  | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0050_REF2 | 0100_REF1 | 0100_REF2 | 0140_REF1 | 0140_REF2 | 1000_REF1 | 1000_REF2

## Pre-irrad_9_141110
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 |  | 0050_2F13 |  | 0050_3F13 |  | 0050_4F13 |  | 0100_1F15 |  | 0100_2F15
S2 |  | STD_14_C | 0100_3F15 |  | 0100_4F15 |  | 0140_1F23 |  | 0140_2F23 |  | 0140_3F23
S3 | 0140_4F23 |  | EMPTY | 1000_1F34 |  | 1000_2F34 |  | 1000_3F34 |  | 1000_4F34 |  | 0050_1R13
S4 |  | 0050_2R13 |  | EMPTY | 0050_3R13 |  | 0050_4R13 |  | 0100_1R15 |  | 0100_2R15
S5 | 0100_3R15 |  | 0100_4R15 |  | EMPTY | 0140_1R23 |  | 0140_2R23 |  | 0140_3R23 |  | 0140_4R23
S6 |  | 1000_1R34 |  | 1000_2R34 |  | EMPTY | 1000_3R34 |  | 1000_4R34 |  | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 |  | 0050_2F11 |  | 0050_3F11 |  | EMPTY | 0050_4F11 |  | 0100_1F22 |  | 0100_2F22
S8 |  | 0100_3F22 |  | 0100_4F22 |  | 0140_1F31 |  | EMPTY | 0140_2F31
S9 |  |  | 1000_1F36 |  | 1000_2F36 |  |  |  | EMPTY |  |  | 0050_1R11
S10 |  | 0050_2R11 |  | 0050_3R11 |  | 0050_4R11 |  | 0100_1R22 |  | EMPTY | 0100_2R22
S11 | 0100_3R22 |  | 0100_4R22 |  | 0140_1R31 |  | 0140_2R31 |  |  |  | EMPTY
S12 |  | 1000_1R36 |  | 1000_2R36 | [5 empty] | 0050_1F16 |  | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY |  | 0050_3F16 |  | 0050_4F16 |  | 0100_1F27 | 0100_2F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 |  | 0050_2R16 |  | 0050_3R16
S15 | EMPTY | 0050_4R16 |  | 0100_1R27 | EMPTY | 0100_2R27 |  |  | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0050_REF2 | 0100_REF1 | 0100_REF2 | 0140_REF1 | 0140_REF2 | 1000_REF1 | 1000_REF2

## Pre-irrad_10_141113
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 |  | 0050_2F13 |  | 0050_3F13 |  | 0050_4F13 |  | 0100_1F15 |  | 0100_2F15
S2 |  | STD_14_C | 0100_3F15 |  | 0100_4F15 |  | 0140_1F23 |  | 0140_2F23 |  | 0140_3F23
S3 | 0140_4F23 |  | EMPTY | 1000_1F34 |  | 1000_2F34 |  | 1000_3F34 |  | 1000_4F34 |  | 0050_1R13
S4 |  | 0050_2R13 |  | EMPTY | 0050_3R13 |  | 0050_4R13 |  | 0100_1R15 |  | 0100_2R15
S5 | 0100_3R15 |  | 0100_4R15 |  | EMPTY | 0140_1R23 |  | 0140_2R23 |  | 0140_3R23 |  | 0140_4R23
S6 |  | 1000_1R34 |  | 1000_2R34 |  | EMPTY | 1000_3R34 |  | 1000_4R34 |  | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 |  | 0050_2F11 |  | 0050_3F11 |  | EMPTY | 0050_4F11 |  | 0100_1F22 |  | 0100_2F22
S8 |  | 0100_3F22 |  | 0100_4F22 |  | 0140_1F31 |  | EMPTY | 0140_2F31
S9 |  |  | 1000_1F36 |  | 1000_2F36 |  |  |  | EMPTY |  |  | 0050_1R11
S10 |  | 0050_2R11 |  | 0050_3R11 |  | 0050_4R11 |  | 0100_1R22 |  | EMPTY | 0100_2R22
S11 | 0100_3R22 |  | 0100_4R22 |  | 0140_1R31 |  | 0140_2R31 |  |  |  | EMPTY
S12 |  | 1000_1R36 |  | 1000_2R36 | [5 empty] | 0050_1F16 |  | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY |  | 0050_3F16 |  | 0050_4F16 |  | 0100_1F27 | 0100_2F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 |  | 0050_2R16 |  | 0050_3R16
S15 | EMPTY | 0050_4R16 |  | 0100_1R27 | EMPTY | 0100_2R27 |  |  | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0050_REF2 | 0100_REF1 | 0100_REF2 | 0140_REF1 | 0140_REF2 | 1000_REF1 | 1000_REF2

## Pre-irrad_11_141114
Tray ID | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12
S1 | STD_3_H | 0050_1F13 |  | 0050_2F13 |  | 0050_3F13 |  | 0050_4F13 |  | 0100_1F15 |  | 0100_2F15
S2 |  | STD_14_C | 0100_3F15 |  | 0100_4F15 |  | 0140_1F23 |  | 0140_2F23 |  | 0140_3F23
S3 | 0140_4F23 |  | EMPTY | 1000_1F34 |  | 1000_2F34 |  | 1000_3F34 |  | 1000_4F34 |  | 0050_1R13
S4 |  | 0050_2R13 |  | EMPTY | 0050_3R13 |  | 0050_4R13 |  | 0100_1R15 |  | 0100_2R15
S5 | 0100_3R15 |  | 0100_4R15 |  | EMPTY | 0140_1R23 |  | 0140_2R23 |  | 0140_3R23 |  | 0140_4R23
S6 |  | 1000_1R34 |  | 1000_2R34 |  | EMPTY | 1000_3R34 |  | 1000_4R34 |  | 0050_FPMT | 0050_RPMT
S7 | 0050_1F11 |  | 0050_2F11 |  | 0050_3F11 |  | EMPTY | 0050_4F11 |  | 0100_1F22 |  | 0100_2F22
S8 |  | 0100_3F22 |  | 0100_4F22 |  | 0140_1F31 |  | EMPTY | 0140_2F31
S9 |  |  | 1000_1F36 |  | 1000_2F36 |  |  |  | EMPTY |  |  | 0050_1R11
S10 |  | 0050_2R11 |  | 0050_3R11 |  | 0050_4R11 |  | 0100_1R22 |  | EMPTY | 0100_2R22
S11 | 0100_3R22 |  | 0100_4R22 |  | 0140_1R31 |  | 0140_2R31 |  |  |  | EMPTY
S12 |  | 1000_1R36 |  | 1000_2R36 | [5 empty] | 0050_1F16 |  | EMPTY
S13 | EMPTY | 0050_2F16 | EMPTY |  | 0050_3F16 |  | 0050_4F16 |  | 0100_1F27 | 0100_2F27
S14 | EMPTY | 1000_1F37 | 1000_2F37 | EMPTY | 1000_3F37 | 1000_4F37 | 0050_1R16 |  | 0050_2R16 |  | 0050_3R16
S15 | EMPTY | 0050_4R16 |  | 0100_1R27 | EMPTY | 0100_2R27 |  |  | 1000_1R37 | 1000_2R37 | 1000_3R37 | 1000_4R37
R1 | 0050_REF1 | 0050_REF2 | 0100_REF1 | 0100_REF2 | 0140_REF1 | 0140_REF2 | 1000_REF1 | 1000_REF2